New alteration /renovation check list

BUILDING AND ZONING DIVISION CHECKLIST FOR COMMERCIAL BUILDING

ALTERATIONS / RENOVATIONS

FBC-2023

Date: 	Type Construction: I	II	III	IV	V

Building Location: 				 Type Occupancy: 		 Occupancy Classification: 			 Occupant Load 	 Specific Uses (e.g. Retail sale of sporting goods): Use separate sheet of paper if necessary. 						 Existing Total Floor Area Entire Building: 		 Improvement Area: 		 Zone District: 	 Flood Zone: 		 Fire District: 			 Contractor:				Phone: 		 Architect:				Phone: 		 Engineer:				Phone:

The following information is required by the City of Sarasota building division. The information presented is only a minimum requirement for plans examination, and does not release the designee in any way from the responsibility of total compliance with all applicable codes. Applications will not be processed unless all requested information is submitted.

# BLUEPRINTS MUST BE 24” X 36”

| Y E S | N O | PLEASE DO NOT WRITE IN SHADED AREAS. | Y E S | N O |
| --- | --- | --- | --- | --- |
| Staff | Use |  |  |  |
|  |  | - Digital submission through the City’s portal or by paper in person four complete sets of plans and specifications |  |  |
|  |  | General cover sheet - Building Adress - Title block including North arrow, date of preparation, owner’s name, subdivision, lot & block. - Contractor information - All Design Professional’s information: Civil Engineer, Architect, MEPF Engineers, Landscape Engineers - Life Safety Plan: Per FBC 107 Construction type, Occupancy type, Occupancy class, Occupancy load, Egress, Change of Occupancy, Specific uses, Fire resistive assemblies, Height, elevation. - Site plan - Number of off-street parking spaces, required and provided, including handicapped spaces |  |  |
|  |  | - Architectural plan(s) Per FBC 107.3.5 - Seal and signature of the Architect who prepared the plans (Architect required if construction valuation is $25,000 or over) Per FS 481.229(c), 489. - Building Code analysis: Construction type, Occupancy type, Occupancy class, Occupancy load, Egress, is this a change of uses, Fixture calculation, Flood zone. On existing layout and proposed layout documents. - Existing and proposed layouts. - Areas to be Demolished, Copy of an Asbestos survey if removing 160sqft of material per FBC 105.9, Check with Sarasota County Department of health. - Building and structure heights and elevations - Exterior material types and finishes, sections/elevations - finished floor elevations |  |  |
|  |  | 4. Health Department Approval (Restaurant). If alcoholic beverages are proposed, write the type of beverages here: |  |  |
|  |  | 5. Transportation concurrency letter from Engineering Department |  |  |
|  |  | 6. Site Plan: Site lighting plan including location, type, height and intensity pattern of all exterior lights, if applicable with Photometric plan |  |  |
|  |  | 7. Height and type of fencing and walls, existing and proposed and a Lot Drainage plan |  |  |
|  |  | 8. Locations of doors and windows (if replacing (NOA’s) Notice of Acceptance required). Current Product approval Front Page or List number on plans. |  |  |
|  |  | 9. Structural plans Signed and Sealed FS471. |  |  |
|  |  | 10. MEP Plans by a division II contract if under the requirements or design professional meeting FS471/ Files should be separate and file name starting in plain language, Civil, Arch, etc. |  |  |
|  |  | 11. Mechanical plan(s) with Energy compliance forms |  |  |
|  |  | 12. Electrical plan(s) |  |  |
|  |  | 13. Plumbing plan(s) |  |  |
|  |  | 14. ADA requirements |  |  |
|  |  | 15. Sprinkler shop Drawings – Layout, Riser diagram, calculations, By fire sprinkler Contractor |  |  |
|  |  | 16. Fire alarm shop drawings; By Fire Alarm Contractor |  |  |
|  |  | 18. Roofing specifications, NOA’s (Notice of Acceptance) |  |  |
|  |  | 19. Civil requirements if apply - Site plan, property lines, lots, blocks, subdivisions, fences, walls, - Grading, landscaping, pathway, parking lots, drainage, existing conditions, utility’s location, building placement. - Provide a drainage plan - Drainage calculations - Water/Sewer availability - Refuse and collection areas including screening and dumpster locations |  |  |
|  |  | 20. Zoning Requirements |  |  |
|  |  | - Zoning Data Block (May be required) - (See Zoning Division) |  |  |
|  |  | - Density calculations (if applicable) |  |  |
|  |  | - Minimum lot area required, and minimum lot area provided |  |  |
|  |  | - Minimum lot width required, and minimum lot width provided |  |  |
|  |  | - Maximum lot coverage allowed, and lot coverage provided |  |  |
|  |  | - Minimum yard setbacks required, and yard setbacks provided |  |  |
|  |  | - Maximum height allowed, and height provided |  |  |
|  |  | - Total floor area of all structures |  |  |
|  |  | - Present use and Proposed use |  |  |
|  |  | 21. FEMA information required: (If property in Flood Zone A or V, fill out a thru g) |  |  |
|  |  | - Fill out FEMA forms |  |  |
|  |  | (a) Framing and Floor and Wall finish schedule. Must be water resistant for a min. of 72 Hrs. |  |  |
|  |  | (b) V-Zone Design Certificate if in a V Zone |  |  |
|  |  | (c) Signed Contract by Builder and Owner |  |  |
|  |  | (d) Substantial Improvement / Substantial Damage forms (On the City's Website) |  |  |
|  |  | (e) Full Appraisal or Property Appraisers Building Value |  |  |
|  |  | (f ) Survey showing the Flood Zone and the Flood Zone line location |  |  |
|  |  | (g) If an elevation Cert. is provided It must have NAVD Elevations |  |  |
|  |  | 22. Public Art, Commercial Renovation projects with a construction value of $1,000,000 or more must contribute to public art. See City web site |  |  |
|  |  | 23.Correction to comments or Changes - Provide a transmittal form. - A narrative should be provided with correction giving brief detail of correction or change. - Correction file names shall be the same as the original file name plus Rev # |  |  |
|  |  | 24. Impact fees for existing uses if wanting credits. A copy of the property appeaser card for all existing structures. |  |  |

UPDATED 10/25 Commercial Alteration Checklist	941-263-6494	ChecklstCommAltRenoRev

E-Plans Upload Instructions

Any initial uploads or revisions not following these guidelines will be rejected  and sent back to the contractor for resubmission.

All submissions will require plans and a construction cost. All demos, new additions, or new construction will need to have the square footage listed on the submittal form.

Please combine all documents as listed below. Pay attention to instructions for how to upload plan sets and how those plan sets need to be named (the file name and description of the document is extremely important to a smooth review process)

- All files should be uploaded under step 2 of the upload process. Files should only be uploaded to step 3 when requested by review or intake staff.

- For all permit sets (A, MEP, FP, FS, C, S sheets and others) sheets should be uploaded as ONE document and other informational documents can be uploaded independently as separate documents (NOAs, Material Spec Sheets, Property appraiser forms, etc.).

- Permit sets larger than 400MB will need to be separated and uploaded in multiple files. If this is required, upload in a manner that will not cause a break in a specific discipline in the plan set. For example, plans should not be uploaded in a way that would cause a portion of the mechanical plans (or any other trade) to be in two separate files.

Commercial Plans Upload Order & Instructions (24x36 max)

  - Acceptable Example Names: Electrical Plan; Architectural Plan

  - Documents (Current code Noa’s and Installation Instructions, Spec sheets, Reports Energy Calculations, etc.)

  - Project Permit set to include A sheets, S sheets, C sheets, MEP sheets, FS/FP sheets, etc.

How to title your file:

- Remove any interoffice identifying terminology from the file name, such as file numbers, project numbers, addresses etc.

- Title the document with an appropriate title to clearly show a plans examiner what is in the document they are about to open. For example:

  - Permit Set

  - Permit Set 1 of 2 (for files larger than 400MB)

  - NOAs

  - Dryer Specs

(Notice the simplicity of the file name, this makes it easier to be tracked and for revisions to make it to the right file.)

- Submitting Revisions:

  - Revisions and resubmissions will be required to be uploaded with the original title, and the revision number can be noted. This rule applies whether a single revised sheet is uploaded, or a complete plan set. For example:

  - Acceptable revision examples: Electrical Plan Rev 1; Architectural Plan Rev 1

If there is any confusion about how to upload or label uploads, please contact the Building Department and ask to speak with a Commercial Plans Examiner.