# BUILDING AND ZONING DIVISION CHECKLIST

# FOR NEW COMMERCIAL BUILDINGS OR ADDITION	FBC-2023

(PROJECT COMPONENTS COMPLY WITH CITY CODE 29.5 REQUIRE’S ENGINEERING REVIEW))

Application Number_______________________   Building Address: ________________________________________________________

Building Name___________________________________________________________

THE FOLLOWING INFORMATION IS REQUIRED BY THE CITY OF SARASOTA BUILDING DIVISION. THE INFORMATION PRESENTED IS ONLY A MINIMUM REQUIREMENT FOR PLANS REVIEW AND DOES NOT RELEASE THE DESIGNEE IN ANY WAY FROM THE RESPONSIBILITY OF TOTAL COMPLIANCE WITH ALL APPLICABLE CODES AND PERMITTING REQUIREMENTS FROM OTHER ENTITIES. APPLICATIONS WILL NOT BE PROCESSED UNLESS ALL REQUESTED INFORMATION IS SUBMITTED.

BLUEPRINTS MUST BE 24” X 36”

| Y e s | N o | Please check if it is applicable (Do not write in shaded areas) | Y e s | N o |
| --- | --- | --- | --- | --- |
|  |  | Digital submission through the City’s portal, separate file keeps file name simple civil, arch, MEP, fire, Noa’s, etc. or five complete sets of plans and specifications if applied on paper, |  |  |
|  |  | General - Cover Page - Building Address - Title block-including North arrow, date of preparation, owner’s name, building or subdivision name. - Contractor Information. - All Design Professionals’ information Civil Engineer, Architect, MEPF Engineer, Landscape Engineer, etc. - Indicate if this is a Threshold Building: provide inspector and threshold schedule. - Life Safety Plan: Per FBC 107 Construction Type, Occupancy Type, Occupancy Class, Occupancy Load, Egress, Fire service access elevators, specific uses of space. - Provide Hydrant Flow test per 61G15-32.004(f) - Total floor area of entire building: break down into conditioned and unconditioned space. - Number of residential and commercial units and size of each in sqft. Site Requirements - Fire district, Flood Zone - Parking spaces calculation to include ADA spaces, Fire access, vehicle load, driving/ turning radius. Zoning requirements - Zoning Data Block - Density calculations (if applicable) - Minimum lot area required, and minimum lot area provided - Minimum lot width required, and minimum lot width provided - Maximum coverage allowed, and lot coverage provided. - Minimum yard setbacks are required, and yard setback provided - Maximum height allowed, and height provided - Total floor area of all structures - Photometric plan - Address plan (include units # for multifamily projects. |  |  |
|  |  | Site Survey (by licensed surveyor) - Site Boundary and Topographic Survey |  |  |
|  |  | Engineering, Civil Plan(s) By Engineer FS-471 - Site Improvement Plans shall comply with the requirements of Part I, EDCM and specifically Figures G-1 through G-5. - Civil Site development plans may be separated into: - Site Drainage Plan - Site Utilities Plan striping - Stripping Plan - Boundary Topographic Survey OFF-SITE DEVELOPMENT PLAN - Plan and profile, with stationing, showing existing, and proposed facilities and utilities, streets, sidewalk, handicapped ram DETAILS - Typical cross-sections - - City Standard Details - - Details of structures related to site development plan - - Driveway profiles - - Utility details -ps, curb and gutter, etc. – - Refuse and collection areas including screening and dumpster locations - Transportation concurrency letter from Engineering Department |  |  |
|  |  | CheklstNewCom.B006-15-06__Rev 10 / 2025 |  |  |
|  |  | Stormwater POLLUTION PREVENTION PLAN (SWPPP) FS-403, City Code 29.5-8 - Property boundary lines - - Location of storage sheds - - North arrow, scale, etc. – - Location of construction ingress and egress- - Location of portable restrooms - - Location of dumpsters and/or trash collection – - Provide streets, alleys, sidewalks and waterways - - Provide location of storm inlet within 100 feet - - Show material storage areas - - Proposed building footprint, parking areas, ingress/egress, etc. - - Location of tree conservation areas and vegetation buffers to be preserved – - Existing trees to be removed- - Location of wash-off areas for concrete and paints – - Provide location of silt fence - Provide details for proposed BMP’s - Attenuation Plan – Engineering required if over 1500 square feet. (storm/ rain fall calculation) |  |  |
|  |  | Architectural plan(s) Building Plan Design per FBC 107.3.5- signed sealed FS-481 - Building code Analysis - Occupancy load and occupancy type - Building heights and elevations include flood elevations FBC 504. - Fire resistance assemblies and separation distance, unprotected openings and calculations. - Exterior material types and finishes. - ADA requirement - NOA’s (product approval number/ sheets) |  |  |
|  |  | Structural plans - signed and sealed FS-471 - Soil test report |  |  |
|  |  | MEP Plans - Mechanical plans by Engineer -signed sealed FS-471 - Electrical plans by engineer -signed sealed FS-471 - Plumbing plans by engineer -signed sealed FS-471 - Files should be separated and file name starting in plain language, Civil, Arch, Mech etc. |  |  |
|  |  | - Deferred submittals |  |  |
|  |  | - Energy compliance forms |  |  |
|  |  | Fire Plans - Fire Sprinkler Designed plans by Engineer FS-471– signed sealed: shop drawings by sprinkler contractor with cut sheets separate file. - Fire Alarm Designed plans by Engineer FS-471 signed sealed: shop drawings by alarm contractor with cut sheets separate file - Fire suppression system plans designed by Engineer FS-471 shop drawings by suppression contractor with cut sheets. - Smoke control system designed by Engineer FS-471. - Two-way communication system by Engineer. FS-471 see check list |  |  |
|  |  | Landscape plan, by Landscape Engineer including: - Name, location, quantity, size and type of existing and proposed vegetation and landscaping - Canopy of trees at maturity - All existing trees 4” DBH or greater on the site, notation of which will remain and those proposed for removal - Tree Permit Required - Proposed landscaping - - Plant list index/legend - - Proposed swales and retention area with elevations - - Proposed building footprint, parking areas, driveways, etc. - - Existing trees to be removed - - Property boundary lines - - Tree survey |  |  |
|  |  | Irrigation Plan - Diagrammatic irrigation plan - - Sprinkler head index/legend - - Connection to water supply or well - - Building footprint, parking areas, driveways, etc. - - Property boundary lines – - North arrow, scale, etc. - |  |  |
|  |  | Public Art When construction cost is 1,000,000 or more must contribute to Public Art. See city web site for details |  |  |
|  |  | FEMA requirements - Provide a current survey showing the Proposed Building. Flood Zone and all Flood zone Lines - All areas below the design flood elevation (DEF) Must be water resistant for a Min. of 72 Hrs. Provide a wall material schedule and a floor and wall finish schedule. - Any permit for a structure in a V Zone, Provide a V Zone Design Certificate at plan review. - Show all flow-thrus venting in all areas below DFE if in an A Zone. - Provide a Break away wall Detail with Flow-thru for all areas below DFE in V Zone. Flow-thrus are calculated@ 1 square inch per 1 square foot of floor area measured from the exterior of the building. - In V Zone indicate on the plans that the lowest horizontal structural member will be above the DFE show this on the elevation sheet. - Elevators are required to have an auto return and sump pump if below the DFE. NFPA 70 |  |  |
|  |  | Correction to Comment or changes After initial plan review - Provide a transmittal form. - A narrative should be provided with corrections giving brief detail of correction or change. - Correction file names shall be the same as the original file name plus Rev # to be able to match with original file. If file is not labeled correctly, they will not be accepted. |  |  |

CheklstNewCom.B006-15-06__Rev 10 / 2025

E-Plans Upload Instructions

Any initial uploads or revisions not following these guidelines will be rejected  and sent back to the contractor for resubmission.

All submissions will require plans and a construction cost. All demos, new additions, or new construction will need to have the square footage listed on the submittal form.

Please combine all documents as listed below. Pay attention to instructions for how to upload plan sets and how those plan sets need to be named (the file name and description of the document is extremely important to a smooth review process)

- All files should be uploaded under step 2 of the upload process. Files should only be uploaded to step 3 when requested by review or intake staff.

- For all permit sets (A, MEP, FP, FS, C, S sheets and others) sheets should be uploaded as ONE document and other informational documents can be uploaded independently as separate documents (NOAs, Material Spec Sheets, Property appraiser forms, etc.).

- Permit sets larger than 400MB will need to be separated and uploaded in multiple files. If this is required, upload in a manner that will not cause a break in a specific discipline in the plan set. For example, plans should not be uploaded in a way that would cause a portion of the mechanical plans (or any other trade) to be in two separate files.

Commercial Plans Upload Order & Instructions (24x36 max)

  - Acceptable Example Names: Electrical Plan; Architectural Plan

  - Documents (Current code Noa’s and Installation Instructions, Spec sheets, Reports Energy Calculations, etc.)

  - Project Permit set to include A sheets, S sheets, C sheets, MEP sheets, FS/FP sheets, etc.

How to title your file:

- Remove any interoffice identifying terminology from the file name, such as file numbers, project numbers, addresses etc.

- Title the document with an appropriate title to clearly show a plans examiner what is in the document they are about to open. For example:

  - Permit Set

  - Permit Set 1 of 2 (for files larger than 400MB)

  - NOAs

  - Dryer Specs

(Notice the simplicity of the file name, this makes it easier to be tracked and for revisions to make it to the right file.)

- Submitting Revisions:

  - Revisions and resubmissions will be required to be uploaded with the original title, and the revision number can be noted. This rule applies whether a single revised sheet is uploaded, or a complete plan set. For example:

  - Acceptable revision examples: Electrical Plan Rev 1; Architectural Plan Rev 1

If there is any confusion about how to upload or label uploads, please contact the Building Department and ask to speak with a Commercial Plans Examiner.

New SF Residential Plans Upload Order (24x36 max)

- Current code Noa’s and Installation Instructions, Energy Calculations

- Architectural plans

Current Survey (Showing all structures on the lot)

Site plans / Drainage plan with swale details (Signed and Sealed if in a Flood Zone) Floor Plans

Electrical Plans Elevation pages.

Building sections and details

Window, Door and Floor, Wall, and Stair Finish schedules.

- Engineering Pages / Structural

Residential Renovations and Additions (24x36 max)

- Current Noa’s and Installation instructions and Energy Calculations for Additions

a. If the structure is in an A or V Flood zone and is non-conforming regarding finish floor elevation, Provide the FEMA forms and all back up documentation submitted as listed on the Cost Estimate of Reconstruction / Improvement. See the bottom of the page for guidance.

- Architects Plans

Current survey. (Showing all Structures on the lot)

Site plan and Drainage plan, (Signed and Sealed if in a Flood Zone) Existing and new floor plans.

Electrical plans (Current and new layout) Elevation pages (If required)

Building sections and Details.

Window and door and Floor, Wall, and Stair Finish Schedules (if required) Structural plans by the Architect or Engineer (Signed and Sealed)

Swimming Pools (24x36 max)

Download the Plans as indicated on the (Contractor Pool / Spa Checklist) in the order they appear on the checklist. The Check list is on the City of Sarasota Website in the Building and Permitting